## COUPLING (RIGID)
Previews | Sizes | ShapeName | D | L | H | W | K | ContentGeometryParamDefinition | SizeRecordId_S-ALL | PortName_S-ALL | NominalDiameter_S-ALL | NominalUnit_S-ALL | MatchingPipeOd_S-ALL | EndType_S-ALL | FlangeStd_S-ALL | GasketStd_S-ALL | Facing_S-ALL | FlangeThickness_S-ALL | PressureClass_S-ALL | Schedule_S-ALL | WallThickness_S-ALL | EngagementLength_S-ALL | LengthUnit_S-ALL | ShortDescription | CompatibleStandard | DesignStd | PartFamilyLongDesc | PartSizeLongDesc | Material | MaterialCode | Weight | WeightUnit | SKEY | TYPE | PartFamilyId | CatalogPartFamilyId | PartStatus | Manufacturer | ItemCode | DesignPressureFactor | ConnectionPortCount | ComponentDesignation | PartCategory | ContentIsoSymbolDefinition | PartVersion | Status | PnPClassName | ExcelFormatVersion_2.0 | PnPID
Preview | Sizes | Shape Name | D | L | H | W | K | ContentGeometryParamDefinition | Size Record Id_S-ALL | Port Name_S-ALL | Nominal Diameter_S-ALL | Nominal Unit_S-ALL | Matching Pipe OD_S-ALL | End Type_S-ALL | Flange Std_S-ALL | Gasket Std_S-ALL | Facing_S-ALL | Flange Thickness_S-ALL | Pressure Class_S-ALL | Schedule_S-ALL | Wall Thickness_S-ALL | Engagement Length_S-ALL | Port Unit_S-ALL | Short Description | Compatible Standard | Design Std | Long Description (Family) | Long Description (Size) | Material | Material Code | Weight | Weight Unit | SKEY | TYPE | Part Family Id | CatalogPartFamilyId | PartStatus | Manufacturer | Item Code | Design Pressure Factor | Connection Port Count | Component Designation | Part Category | Content Iso Symbol Definition | PartVersion | Status | PnPClassName | ExcelFormatVersion_2.0 | PnPID
| 6" | CCLAMPD | 6.5 | 3.88 | 0.65 | 0.25 | 13.75 | D,L,H,W,K, | 1404d4af-0a85-5b03-916b-6ea20a6cdc4f | ALL | 6 | in | 6.625 | Universal_ET |  |  |  |  | 4000 |  |  |  | in | COUPLING (RIGID) | HP | STYLE 808 | VIC-HIGH PRESSURE COUPLING STYLE 808 | 6" ND, VIC-HIGH PRESSURE COUPLING STYLE 808 | DI | ASTM A-536, grade 65-45-12. | 36 | LB | CLVT | CLAMP | c02fff66-3c7c-4994-854e-20a2a59d9a99 |  |  | VICTAULIC |  |  | 2 |  | Fasteners | TYPE=CLAMP,SKEY=CLVT | 4_0 |  | Clamp |  | 6237
| 8" | CCLAMPD | 8.625 | 4.75 | 0.8625 | 0.25 | 15.75 | D,L,H,W,K, | 2ba686b0-228d-5980-a93a-c4a0528289a2 | ALL | 8 | in | 8.625 | Universal_ET |  |  |  |  | 3500 |  |  |  | in | COUPLING (RIGID) | HP | STYLE 808 | VIC-HIGH PRESSURE COUPLING STYLE 808 | 8" ND, VIC-HIGH PRESSURE COUPLING STYLE 808 | DI | ASTM A-536, grade 65-45-12. | 70 | LB | CLVT | CLAMP | c02fff66-3c7c-4994-854e-20a2a59d9a99 |  |  | VICTAULIC |  |  | 2 |  | Fasteners | TYPE=CLAMP,SKEY=CLVT | 4_0 |  | Clamp |  | 6239
| 10" | CCLAMPD | 10.75 | 4.75 | 1.075 | 0.25 | 18.13 | D,L,H,W,K, | 4e524dde-5fad-5de4-876b-f92f5700446c | ALL | 10 | in | 10.75 | Universal_ET |  |  |  |  | 3000 |  |  |  | in | COUPLING (RIGID) | HP | STYLE 808 | VIC-HIGH PRESSURE COUPLING STYLE 808 | 10" ND, VIC-HIGH PRESSURE COUPLING STYLE 808 | DI | ASTM A-536, grade 65-45-12. | 85 | LB | CLVT | CLAMP | c02fff66-3c7c-4994-854e-20a2a59d9a99 |  |  | VICTAULIC |  |  | 2 |  | Fasteners | TYPE=CLAMP,SKEY=CLVT | 4_0 |  | Clamp |  | 6241
| 12" | CCLAMPD | 12.75 | 4.5 | 1.275 | 0.25 | 21.25 | D,L,H,W,K, | 9fed2ea6-1fdd-56de-922e-66f5e8e01a20 | ALL | 12 | in | 12.75 | Universal_ET |  |  |  |  | 2500 |  |  |  | in | COUPLING (RIGID) | HP | STYLE 808 | VIC-HIGH PRESSURE COUPLING STYLE 808 | 12" ND, VIC-HIGH PRESSURE COUPLING STYLE 808 | DI | ASTM A-536, grade 65-45-12. | 105 | LB | CLVT | CLAMP | c02fff66-3c7c-4994-854e-20a2a59d9a99 |  |  | VICTAULIC |  |  | 2 |  | Fasteners | TYPE=CLAMP,SKEY=CLVT | 4_0 |  | Clamp |  | 6243
Note on A1: For internal use only. Do not edit or remove this row
Note on D2: Nominal outside diameter
Note on E2: Length of the clamp If set to 0 then we use D * 0.5
Note on F2: Height of the clamp If set to 0 then we use L / 4.0
Note on G2: Thickness of the clamp If set to 0 then we use D * 0.1
Note on H2: Overall width of the clamp If set to 0 then we use D + (H * 2.0) + L
Note on J2: Size Record Id
Note on K2: Port Name
Note on L2: Nominal Diameter
Note on M2: Nominal Unit
Note on N2: Matching Pipe OD
Note on O2: End Type
Note on P2: Flange Std
Note on Q2: Gasket Std
Note on R2: Facing
Note on S2: Flange Thickness
Note on T2: Pressure Class
Note on U2: Schedule
Note on V2: Wall Thickness
Note on W2: Engagement Length
Note on X2: Port Unit
Note on Y2: Short Description
Note on Z2: Compatible Standard
Note on AA2: Design Std
Note on AB2: Long Description (Family)
Note on AC2: Long Description (Size)
Note on AD2: Material
Note on AE2: Material Code
Note on AF2: Weight
Note on AG2: Weight Unit
Note on AJ2: Part Family Id
Note on AK2: CatalogPartFamilyId
Note on AL2: PartStatus
Note on AM2: Manufacturer
Note on AN2: Item Code
Note on AO2: Design Pressure Factor
Note on AP2: Connection Port Count
Note on AQ2: Component Designation
Note on AR2: Part Category
Note on AS2: Content Iso Symbol Definition
Note on AT2: PartVersion
Note on AU2: Status

## Catalog Data
Dummy